## Full Range
|  | COMMONWEALTH OF PENNSYLVANIA | [5 empty] | DISTRICT
|  | DEPARTMENT OF TRANSPORTATION | [5 empty] | PLANT CODE
|  | PENNSYLVANIA TURNPIKE COMMISSION | [5 empty] | Type |  | Nominal Capacity |  | Full Capacity
Concrete 2023 | [7 empty] | A | Aggregate
|  |  |  | Full Range Scale Check (PTM 410) |  |  |  | C | Cement
Date | Type | Percent Increment | Material Weight | Test Weight | True Weight | Scale Reading | Repeatability |  |  | + / - Reading | Percent Error | Tested By
[7 empty] | Weight | Diff. | Deviation
[8 empty] | TOTAL ERROR |  | 0
A
C
W
|  | COMMONWEALTH OF PENNSYLVANIA | [5 empty] | DISTRICT
|  | DEPARTMENT OF TRANSPORTATION | [5 empty] | PLANT CODE
|  | PENNSYLVANIA TURNPIKE COMMISSION | [5 empty] | Type |  | Nominal Capacity |  | Full Capacity
Concrete 2023 | [7 empty] | A | Aggregate
|  |  |  | Full Range Scale Check (PTM 410) |  |  |  | C | Cement |  | Aggregate
Date | Type | Percent Increment | Material Weight | Test Weight | True Weight | Scale Reading | Repeatability |  |  | + / - Reading | Percent Error | Tested By
[7 empty] | Weight | Diff. | Deviation
TOTAL ERROR

## Increment
|  | COMMONWEALTH OF PENNSYLVANIA | [7 empty] | DISTRICT
|  | DEPARTMENT OF TRANSPORTATION | [7 empty] | PLANT CODE
PENNSYLVANIA TURNPIKE COMMISSION
Concrete 2023 | [9 empty] | Nominal Capacity | Aggregate
|  |  |  | Incremental Range Scale Check (PTM 410) | [6 empty] | Cement
Date | Type | Percent Increment | Material Weight | Test Weight | True Weight | Scale Reading | + / - Reading | Total Error | Percent Error | Tested By
DISTRICT
|  | COMMONWEALTH OF PENNSYLVANIA | [7 empty] | PLANT CODE
|  | DEPARTMENT OF TRANSPORTATION | [8 empty] | Type
|  | PENNSYLVANIA TURNPIKE COMMISSION | [7 empty] | Nominal Capacity | Aggregate
Concrete 2023 | [10 empty] | Cement
Date | Type | Percent Increment | Material Weight | Test Weight | True Weight | Scale Reading | + / - Reading | Total Error | Percent Error | Tested By
DISTRICT
|  | COMMONWEALTH OF PENNSYLVANIA | [7 empty] | PLANT CODE
|  | DEPARTMENT OF TRANSPORTATION | [8 empty] | Type
|  | PENNSYLVANIA TURNPIKE COMMISSION | [7 empty] | Nominal Capacity | Aggregate
Concrete 2013 | [10 empty] | Cement
Date | Type | Percent Increment | Material Weight | Test Weight | True Weight | Scale Reading | + / - Reading | Total Error | Percent Error | Tested By
A
C
W

## Water scale - meter
|  | COMMONWEALTH OF PENNSYLVANIA | [8 empty] | DISTRICT
|  | DEPARTMENT OF TRANSPORTATION | [8 empty] | PLANT CODE
PENNSYLVANIA TURNPIKE COMMISSION
Concrete 2023
Water Scales / Meter
Cold Water | [6 empty] | Hot Water | [7 empty] | Gallons
Date | Gallons / Pounds | Target amount | True weight | Scale reading | Error | Percent Error | Date | Gallons / Pounds | Water | Target amount | True weight | Scale reading | Error | Percent Error | Pounds |  | 32 | 8.3436 | 0.0001875
[9 empty] | Temp. | [7 empty] | 33 | 8.3438
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 34 | 8.344
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 35 | 8.3442
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 36 | 8.3443
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 37 | 8.3445
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 38 | 8.3447
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 39 | 8.3449
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 40 | 8.3451 | 0.00021
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 41 | 8.3449
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 42 | 8.3447
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 43 | 8.3445
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 44 | 8.3443
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 45 | 8.3441
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 46 | 8.3438
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 47 | 8.3436
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 48 | 8.3434
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 49 | 8.3432
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 50 | 8.343 | 0.00052
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 51 | 8.3425
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 52 | 8.342
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 53 | 8.3414
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 54 | 8.3409
|  |  | 0 |  |  | #VALUE! |  |  |  |  | 0 |  |  | #VALUE! |  | #N/A | 55 | 8.3404
[17 empty] | 56 | 8.3399
[17 empty] | 57 | 8.3394
[17 empty] | 58 | 8.3388
[17 empty] | 59 | 8.3383
[17 empty] | 60 | 8.3378 | 0.00088
[17 empty] | 61 | 8.3369
[17 empty] | 62 | 8.336
[17 empty] | 63 | 8.3352
[17 empty] | 64 | 8.3343
[17 empty] | 65 | 8.3334
[17 empty] | 66 | 8.3325
[17 empty] | 67 | 8.3316
[17 empty] | 68 | 8.3308
[17 empty] | 69 | 8.3299
[17 empty] | 70 | 8.329 | 0.00114
[17 empty] | 71 | 8.3279
[17 empty] | 72 | 8.3267
[17 empty] | 73 | 8.3256
[17 empty] | 74 | 8.3244
[17 empty] | 75 | 8.3233
[17 empty] | 76 | 8.3222
[17 empty] | 77 | 8.321
[17 empty] | 78 | 8.3199
[17 empty] | 79 | 8.3187
[17 empty] | 80 | 8.3176 | 0.00099
[17 empty] | 81 | 8.3166
[17 empty] | 82 | 8.3156
[17 empty] | 83 | 8.3146
[17 empty] | 84 | 8.3136
[17 empty] | 85 | 8.3127
[17 empty] | 86 | 8.3117
[17 empty] | 87 | 8.3107
[17 empty] | 88 | 8.3097
[17 empty] | 89 | 8.3087
[17 empty] | 90 | 8.3077 | 0.002
[17 empty] | 91 | 8.3057
[17 empty] | 92 | 8.3037
[17 empty] | 93 | 8.3017
[17 empty] | 94 | 8.2997
[17 empty] | 95 | 8.2977
[17 empty] | 96 | 8.2957
[17 empty] | 97 | 8.2937
[17 empty] | 98 | 8.2917
[17 empty] | 99 | 8.2897
[17 empty] | 100 | 8.2877 | 0.001895
[17 empty] | 101 | 8.2858
[17 empty] | 102 | 8.2839
[17 empty] | 103 | 8.282
[17 empty] | 104 | 8.2801
[17 empty] | 105 | 8.2782
[17 empty] | 106 | 8.2763
[17 empty] | 107 | 8.2744
[17 empty] | 108 | 8.2725
[17 empty] | 109 | 8.2706
[17 empty] | 110 | 8.2688
[17 empty] | 111 | 8.2669
[17 empty] | 112 | 8.265
[17 empty] | 113 | 8.2631
[17 empty] | 114 | 8.2612
[17 empty] | 115 | 8.2593
[17 empty] | 116 | 8.2574
[17 empty] | 117 | 8.2555
[17 empty] | 118 | 8.2536
[17 empty] | 119 | 8.2517
[17 empty] | 120 | 8.2498 | 0.00225
[17 empty] | 121 | 8.2476
[17 empty] | 122 | 8.2453
[17 empty] | 123 | 8.2431
[17 empty] | 124 | 8.2408
[17 empty] | 125 | 8.2386
[17 empty] | 126 | 8.2363
[17 empty] | 127 | 8.234
[17 empty] | 128 | 8.2318
[17 empty] | 129 | 8.2295
[17 empty] | 130 | 8.2273
[17 empty] | 131 | 8.225
[17 empty] | 132 | 8.2228
[17 empty] | 133 | 8.2205
[17 empty] | 134 | 8.2183
[17 empty] | 135 | 8.216
[17 empty] | 136 | 8.2138
[17 empty] | 137 | 8.2115
[17 empty] | 138 | 8.2093
[17 empty] | 139 | 8.207
[17 empty] | 140 | 8.2048 | 0.002555
[17 empty] | 141 | 8.2022
[17 empty] | 142 | 8.1997
[17 empty] | 143 | 8.1971
[17 empty] | 144 | 8.1946
[17 empty] | 145 | 8.192
[17 empty] | 146 | 8.1895
[17 empty] | 147 | 8.1869
[17 empty] | 148 | 8.1844
[17 empty] | 149 | 8.1818
[17 empty] | 150 | 8.1793
[17 empty] | 151 | 8.1767
[17 empty] | 152 | 8.1741
[17 empty] | 153 | 8.1716
[17 empty] | 154 | 8.169
[17 empty] | 155 | 8.1665
[17 empty] | 156 | 8.1639
[17 empty] | 157 | 8.1614
[17 empty] | 158 | 8.1588
[17 empty] | 159 | 8.1563
[17 empty] | 160 | 8.1537 | 0.00284
[17 empty] | 161 | 8.1509
[17 empty] | 162 | 8.148
[17 empty] | 163 | 8.1452
[17 empty] | 164 | 8.1423
[17 empty] | 165 | 8.1395
[17 empty] | 166 | 8.1367
[17 empty] | 167 | 8.1338
[17 empty] | 168 | 8.131
[17 empty] | 169 | 8.1281
[17 empty] | 170 | 8.1253
[17 empty] | 171 | 8.1225
[17 empty] | 172 | 8.1196
[17 empty] | 173 | 8.1168
[17 empty] | 174 | 8.1139
[17 empty] | 175 | 8.1111
[17 empty] | 176 | 8.1083
[17 empty] | 177 | 8.1054
[17 empty] | 178 | 8.1026
[17 empty] | 179 | 8.0997
[17 empty] | 180 | 8.0969 | 0.00309
[17 empty] | 181 | 8.0938
[17 empty] | 182 | 8.0907
[17 empty] | 183 | 8.0876
[17 empty] | 184 | 8.0845
[17 empty] | 185 | 8.0814
[17 empty] | 186 | 8.0784
[17 empty] | 187 | 8.0753
[17 empty] | 188 | 8.0722
[17 empty] | 189 | 8.0691
[17 empty] | 190 | 8.066
[17 empty] | 191 | 8.0629
[17 empty] | 192 | 8.0598
[17 empty] | 193 | 8.0567
[17 empty] | 194 | 8.0536
[17 empty] | 195 | 8.0505
[17 empty] | 196 | 8.0475
[17 empty] | 197 | 8.0444
[17 empty] | 198 | 8.0413
[17 empty] | 199 | 8.0382
[17 empty] | 200 | 8.0351 | 0.00394
[17 empty] | 201 | 8.0312
[17 empty] | 202 | 8.0272
[17 empty] | 203 | 8.0233
[17 empty] | 204 | 8.0193
[17 empty] | 205 | 8.0154
[17 empty] | 206 | 8.0115 |  | `
[17 empty] | 207 | 8.0075
[17 empty] | 208 | 8.0036
[17 empty] | 209 | 7.9996
[17 empty] | 210 | 7.9957